- Title: (e.g. LPS induced translocation of NFkB)

| - Run date: |  | - Run by: |  |
| --- | --- | --- | --- |
| - Researcher |  | - Institution: |  |
| - Phone: |  | - E-mail: |  |
| - Kostenstelle: |  | - Projektnummer: |  |
| - Purpose and expected results: |  |  |  |
| - Will the data be used for a scientific thesis (Bachelor, Master, PhD)? |  |  |  |
| - Describe gating strategy: 1.) Focus BF 2.) Single cells using BF area vs Aspect Ratio 3.)… 4.)…. |  |  |  |
| - Cell Type: | - Fix: | - Conc (x107/ml): | - Run Buffer: |
| - Treatment: |  |  |  |

- Channels:

| - Ch | - Band | - Fluorochrome | - Target | - Notes |
| --- | --- | --- | --- | --- |
| - 1 | - 435-480 | - Brightfield | - Morphology |  |
| - 2 | - 480-560 |  |  |  |
| - 3 | - 560-595 |  |  |  |
| - 4 | - 595-640 |  |  |  |
| - 5 | - 640-745 |  |  |  |
| - 6 | - 745-780 | - SSC | - Granularity |  |
| - 7 | - 435-505 |  |  |  |
| - 8 | - 505-570 |  |  |  |
| - 9 | - 570-595 | - Brightfield | - Morphology |  |
| - 10 | - 595-640 |  |  |  |
| - 11 | - 640-745 |  |  |  |
| - 12 | - 745-780 |  |  |  |

- Samples:

| - File | - Description | - Events acquired |
| --- | --- | --- |
|  | - Control samples (single stainings, FMOs etc) |  |
| - 1 |  |  |
| - 2 |  |  |
| - 3 |  |  |
| - 4 |  |  |
| - 5 |  |  |
|  | - Experimental samples (please list and define all samples you wish to run) |  |
| - 6 |  |  |
| - 7 |  |  |
| - 8 |  |  |
| - 9 |  |  |
| - 10 |  |  |

*Note expected subpopulation frequencies

Notes:

Collection information: (to be set up during first measurement)

| Instrument: ISx mkII | 405 power: | 488 power: |  | 561 power: |  |
| --- | --- | --- | --- | --- | --- |
|  | 642 power: | 785 power: | Mag: |  | EDF: |
| INSPIRE: | Speed: | Core diameter: 10um | Velocity: 55 |  | % Beads: 10% |
| Squelch: | Collection Population: |  |  |  |  |

| - File | - Description | - # of events |
| --- | --- | --- |
| - 11 |  |  |
| - 12 |  |  |
| - 13 |  |  |
| - 14 |  |  |
| - 15 |  |  |
| - 16 |  |  |
| - 17 |  |  |
| - 18 |  |  |
| - 19 |  |  |
| - 20 |  |  |

Analysis Notes: